## MEP
JAMA MOSQUE, AL KARAMA, DUBAI, UAE | [9 empty] | c | c
BILL NO 05 - MEP INSTALLATION | [9 empty] | c | c
ITEM | ITEM DESCRIPTION |  | QTY | UNIT | RATE | TOTAL |  |  |  | A | A
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION | [7 empty] | c
c
|  | STORM WATER SYSTEM INSTALLATION | [7 empty] | c
c
|  | uPVC Pipe work and fittings laid above ground including fittings, fixings, insulation, connections and supports, all in accordance with the drawings and specifications | [7 empty] | c
c
A |  | 50mm pipe |  | max | [5 empty] | B | A
c
B |  | 100mm pipe |  | m | [5 empty] | B | A
c
C |  | 150mm pipe |  | m | [5 empty] | B | A
c
|  | Accessories | [7 empty] | c
c
|  | Piping specialties including joints to uPVC pipe work, all in accordance with the drawings and specifications | [7 empty] | c
c
D |  | Rain water outlet |  | No | [5 empty] | B | A
c
E |  | Rain water outlet, parapet type |  | No | [5 empty] | B | A
c
F |  | Balcony drain outlet |  | No | [5 empty] | B | A
c
G |  | 50mm Rain water free discharge outlet |  | No | [5 empty] | B | A
c
H |  | 100mm Rain water free discharge outlet |  | No | [5 empty] | B | A
c
J |  | 150mm Rain water free discharge outlet |  | No | [5 empty] | B | A
c
c
c
|  | TO PART SUMMARY |  |  | AED |  |  |  |  | c
c
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | DRAINAGE INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Soil, Waste and Vent Drainage | [7 empty] | c
c
|  | uPVC Pipe work and fittings laid under ground including fittings, fixings, accessories, connections, excavation, backfilling and necessary bedding, all in accordance with the drawings and specifications | [7 empty] | c
c
A |  | 50mm pipe |  | m | [5 empty] | B | A
c
B |  | 50mm pressure pipe |  | m | [5 empty] | B | A
c
C |  | 80mm pipe |  | m | [5 empty] | B | A
c
D |  | 100mm pipe |  | m | [5 empty] | B | A
c
E |  | 150mm pipe |  | m | [5 empty] | B | A
c
|  | uPVC Pipe work and fittings laid above ground including fittings, fixings, accessories, connections, supports and insulation, all in accordance with the drawings and specifications | [7 empty] | c
c
F |  | 40mm pipe |  | m | [5 empty] | B | A
c
G |  | 50mm pipe |  | m | [5 empty] | B | A
c
H |  | 50mm pressure pipe |  | m | [5 empty] | B | A
c
J |  | 80mm pipe |  | m | [5 empty] | B | A
c
K |  | 100mm pipe |  | m | [5 empty] | B | A
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | DRAINAGE INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Drainage Accessories | [7 empty] | c
c
|  | Drainage accessories including joints to pipe work, all in accordance with the drawings and specifications | [7 empty] | c
c
A |  | Floor trap, FT (Cover as per Arch) |  | No | [5 empty] | B | A
c
B |  | 100mm FCO |  | No | [5 empty] | B | A
c
C |  | 150mm FCO |  | No | [5 empty] | B | A
c
D |  | Clean out |  | No | [5 empty] | B | A
c
E |  | Balcony drain outlet |  | No | [5 empty] | B | A
c
F |  | Vent cowl |  | No | [5 empty] | B | A
c
G |  | Allow for any other accessories as required to complete the installation |  | Item | [5 empty] | A | A
c
|  | Gully trap, Sand trap and Manholes and Inspection chambers | [7 empty] | c
c
|  | Gully trap, sand trap and manholes and inspection chambers complete with wall protection, sleeves and pipe connections including manhole cover & frame, reinforced concrete walls/block walls, cement rendering, benching and lining, all in accordance with the drawings and specifications | [7 empty] | c
c
H |  | Gully trap |  | No | [5 empty] | B | A
c
J |  | Sand trap |  | No | [5 empty] | B | A
c
K |  | Drain valve chamber |  | No | [5 empty] | B | A
c
L |  | Break pressure chamber |  | No | [5 empty] | B | A
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | DRAINAGE INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Gully trap, Sand trap and Manholes and Inspection chambers (Cont'd) | [7 empty] | c
c
|  | Gully trap, sand trap and manholes and inspection chambers complete with wall protection, sleeves and pipe connections including manhole cover & frame, reinforced concrete walls/block walls, cement rendering, benching and lining, all in accordance with the drawings and specifications | [7 empty] | c
c
A |  | Manhole, square |  | No | [5 empty] | B | a
c
B |  | Manhole (FIC) |  | No | [5 empty] | B | a
|  | Equipment | [7 empty] | c
c
|  | Supply, install test & commission factory assembled plant and equipment complete with pipes, fitting, valves, control panels, power and control cabling and connections, all in accordance with the drawings and specifications | [7 empty] | c
c
C |  | Submersible pump set |  | Set | [5 empty] | B | A
c
|  | Connections | [7 empty] | c
c
D |  | Allow for connection to infrastructure sewer network, all in accordance with the drawings and specifications |  | Item | [5 empty] | A | A
c
c
c
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION | [7 empty] | c
c
|  | DRAINAGE INSTALLATION | [7 empty] | c
c
|  | Bill 05 / Page 02 | [7 empty] | c
c
|  | Bill 05 / Page 03 | [7 empty] | c
c
|  | Bill 05 / Page 04 | [7 empty] | c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
|  | TO PART SUMMARY |  |  | AED |  |  |  |  | c
c
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | CONDENSATE DRAIN SYSTEM INSTALLATION | [7 empty] | c
c
Pipe work
uPVC condensate drain pipes and fittings laid under ground including valves, fittings, fixings, accessories, connections, excavation, backfilling and necessary bedding, all in accordance with the drawings and specifications
A |  | 80mm pipe |  | m
uPVC condensate drain pipes and fittings laid above ground including valves, fittings, fixings, accessories, connections, supports and insulation, all in accordance with the drawings and specifications
B |  | 25mm pipe |  | m | [5 empty] | B | A
c
C |  | 32mm pipe |  | m | [5 empty] | B | A
c
D |  | 50mm pipe |  | m | [5 empty] | B | A
c
E |  | 65mm pipe |  | m | [5 empty] | B | A
c
F |  | 80mm pipe |  | m | [5 empty] | B | A
c
c
c
|  | TO PART SUMMARY |  |  | AED |  |  |  |  | c
c
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | WATER SUPPLY INSTALLATION | [7 empty] | c
c
Sanitary Fitting and Fixtures
Supply and Installation of sanitary fitting, fixtures, mirrors and sinks including angle valve and cover, flexible connection, bottle trap, necessary fitting, fixings, accessories and connections, all in accordance with the drawings and specifications
A |  | Heavy duty water closet, Type SW01 |  | No
B |  | Squat pan, Type SW02 |  | No
C |  | Under counter top basin, Type SW03 |  | No
D |  | HC water closet, Type SW04 |  | yes
E |  | Half pedestal wash basin with bars, Type SW05 |  | No
F |  | Half pedestal wash basin, Type SW06 |  | No
G |  | Wall hung bowl, Type SW07 |  | No
H |  | Janitor sink, Type SW08 |  | No
J |  | Electronic mixer, Type BA01 |  | No
K |  | Soap dispenser, Type BA02 |  | No
L |  | Ablution tap, Type BA03 |  | No
M |  | Hand dryer, Type BA04 |  | No
b
|  | TO COLLECTION |  |  | AED |  |  | b
b
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | WATER SUPPLY INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Sanitary Fitting and Fixtures (Cont'd) | [7 empty] | c
c
|  | Supply and Installation of sanitary fitting, fixtures, mirrors and sinks including angle valve and cover, flexible connection, bottle trap, necessary fitting, fixings, accessories and connections, all in accordance with the drawings and specifications (Cont'd) | [7 empty] | c | A
c
A |  | Paper dispenser, Type BA05 |  | No
B |  | Sensor flush meter, Type BA06 |  | No
C |  | Trigger spray, Type BA07 |  | No
D |  | Toilet roll holder, Type BA08 |  | No
E |  | Grab bar with tissue holder, Type BA09 |  | No
F |  | Horizontal bar, Type BA10 |  | No
G |  | Hook, Type BA13 |  | No
H |  | Basin mixer, Type BA15 |  | No
J |  | Shower mixer, Type BA16 |  | No
K |  | Shower system, Type BA17 |  | No
L |  | Towel rail, Type BA18 |  | No
M |  | Soap holder, Type BA19 |  | No
b
|  | TO COLLECTION |  |  | AED |  |  | b
b
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | WATER SUPPLY INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Sanitary Fitting and Fixtures (Cont'd) | [7 empty] | c
c
|  | Supply and Installation of sanitary fitting, fixtures, mirrors and sinks including angle valve and cover, flexible connection, bottle trap, necessary fitting, fixings, accessories and connections, all in accordance with the drawings and specifications (Cont'd) | [7 empty] | c | A
c
A |  | Sink mixer, Type BA20 |  | No
B |  | Kitchen sink, Type BA21 |  | No
C |  | Hand dryer for HC, Type BA22 |  | No
D |  | Shower curtain rod, Type BA33 |  | No
E |  | Mirrors for Imam and Muezzin resdidence |  | No
F |  | Mirrors for handicapped |  | No
G |  | Mirrors for care takers room |  | No
H |  | Mirror for gents ablution |  | Item
J |  | Mirror for ladies ablution |  | Item
K |  | Allow for fixing of any other fitting and aceesories |  | Item
b
b
b
|  | TO COLLECTION |  |  | AED |  |  | b
b
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | WATER SUPPLY INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Cold and Hot Water Installation | [7 empty] | c
c
|  | Pipe work | [7 empty] | c
c
|  | uPVC pipes and fittings laid under ground including valves, fittings, fixings, accessories, connections, excavation, backfilling and necessary bedding, all in accordance with the drawings and specifications | [7 empty] | c
c
A |  | 50mm pipe |  | m | [5 empty] | B | A
c
|  | PPR pipes and fittings laid under ground including valves, fittings, fixings, accessories, connections, excavation, backfilling and necessary bedding, all in accordance with the drawings and specifications | [7 empty] | c
c
B |  | 20mm pipe |  | m | [5 empty] | B | A
c
C |  | 50mm pipe |  | m | [5 empty] | B | A
c
D |  | 80mm pipe |  | m | [5 empty] | B | A
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | WATER SUPPLY INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Cold and Hot Water Installation (Cont'd) | [7 empty] | c
c
|  | PPR pipes and fittings for cold and hot water supply laid above ground complete with fittings, fixings, brackets, hangers, accessories, insulation and connections, all in accordance with the drawings and specifications | [7 empty] | c
c
A |  | 20mm pipe |  | m | [5 empty] | B | A
c
B |  | 25mm pipe |  | m | [5 empty] | B | A
c
C |  | 32mm pipe |  | m | [5 empty] | B | A
c
D |  | 40mm pipe |  | m | [5 empty] | B | A
c
E |  | 50mm pipe |  | m | [5 empty] | B | A
F |  | 65mm pipe |  | m | [5 empty] | B | A
c
G |  | 80mm pipe |  | m | [5 empty] | B | A
c
|  | PEX pipes and fittings for cold and hot water supply (wall chase) complete with insulations, fittings, supports, brackets, hangers and connections, all in accordance with drawings and specifications | [7 empty] | c
c
H |  | 15mm pipe |  | m | [5 empty] | B | A
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | WATER SUPPLY INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Cold and Hot Water Installation (Cont'd) | [7 empty] | c
c
|  | Valves and Fittings | [7 empty] | c
c
|  | Valves and fittings fixed to pipe work including joints to pipe work, all in accordance with drawings and specifications | [7 empty] | c
c
A |  | 20mm IV |  | No | [5 empty] | B | A
c
B |  | 25mm IV |  | No | [5 empty] | B | A
c
C |  | 32mm IV |  | No | [5 empty] | B | A
c
D |  | 40mm IV |  | No | [5 empty] | B | A
c
E |  | 50mm IV |  | No | [5 empty] | B | A
c
F |  | 65mm IV |  | No | [5 empty] | B | A
c
G |  | 80mm IV |  | No | [5 empty] | B | A
c
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | WATER SUPPLY INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Cold and Hot Water Installation (Cont'd) | [7 empty] | c
c
|  | Valves and Fittings (Cont'd) | [7 empty] | c
c
|  | Valves and fittings fixed to PPR pipe work including joints to pipe work, all in accordance with drawings and specifications (Cont'd) | [7 empty] | c
c
A |  | NRV |  | Item | [5 empty] | A | A
c
B |  | Equalizing valve |  | Item | [5 empty] | A | A
c
C |  | Thermostatic mixing valve |  | Item | [5 empty] | A | A
c
D |  | PRV station |  | Item | [5 empty] | A | A
c
E |  | Bib tap |  | No | [5 empty] | B | A
c
F |  | Water hammer arrestors |  | No | [5 empty] | B | A
c
G |  | Automatic air vent |  | Item | [5 empty] | A | A
c
H |  | Drain valves |  | Item | [5 empty] | A | A
c
J |  | Allow for any other valves and accessories as required to complete the installation |  | Item | [5 empty] | A | A
c
K |  | Allow cladding/protection and insulation to the exposed pipe work |  | ggffd
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | WATER SUPPLY INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Cold and Hot Water Installation (Cont'd) | [7 empty] | c
c
|  | Water Meters | [7 empty] | c
c
|  | Installation only of water meter with valves, all in accordance with drawings and specifications (meter (only) by DEWA) | [7 empty] | c
c
A |  | 32mm water meter |  | No | [5 empty] | B | A
c
B |  | 40mm water meter |  | No | [5 empty] | B | A
c
C |  | 50mm water meter for main incommer |  | No | [5 empty] | B | A
c
|  | Meter Chamber | [7 empty] | c
c
|  | Construction of water meter chamber, all in accordance with drawings and specifications | [7 empty] | c
c
D |  | Water meter chamber for main incomer |  | No | [5 empty] | B | A
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | WATER SUPPLY INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Water Tanks | [7 empty] | c
c
|  | Supply and install GRP water tank complete with all accessories, supporting bases, ladders, valves, float valves, drain valves, water level indicators, vent cowls, access panels, fittings, all in accordance with drawings and specifications | [7 empty] | c
c
A |  | GRP water tank, 0.70m3 |  | No | [5 empty] | B | A
c
B |  | GRP water tank, 2.80m3 |  | No | [5 empty] | B | A
c
C |  | GRP water tank, 7.00m3 |  | No | [5 empty] | B | A
c
D |  | GRP water tank, 19.00m3 |  | No | [5 empty] | B | A
c
E |  | Allow for RCC water tank accessories, fittings and valves including water level indicators, float valves, foot valves, drain valves, level indicators and connections |  | changeItem | [5 empty] | B | A
c
|  | Equipments | [7 empty] | c
c
Water heater complete with thermostat, angle valve for in and out pipes, pressure release valve, non return valves, electrical and mechanical connections, all in accordance with drawings and specifications
F |  | 50 litre EWH |  | No
|  | Supply and install water cooling mini chiller unit complete with pipes, fittings, valves, thermostat, control panels, power and control cabling, connections, necessary accessories and supports, all in accordance with drawings and specifications | [9 empty] | c
c
G |  | Mini chiller unit |  | No | [7 empty] | B | A
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | WATER SUPPLY INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Equipments (Cont'd) | [7 empty] | c
c
|  | Supply and install hot water solar panel system complete with solar panel, collection tank, fittings, valves, thermostat, control panels, power and control cabling, connections, necessary accessories and supports, all in accordance with drawings and specifications | [5 empty] | c
c
A |  | 300 litre hot water solar panel system, SP-01/02 |  | No |  |  |  | B | A
c
B |  | 200 litre hot water solar panel system, SP-03/04 |  | No |  |  |  | B | A
c
|  | Supply and install factory assembled water transfer abd booster pumps complete with fittings, valves, control panels, power and control cabling, connections, pressure vessel, necessary accessories and supports, all in accordance with drawings and specifications | [7 empty] | c
c
C |  | WTPS for Imam and Mozzen |  | Set | [5 empty] | B | A
c
D |  | WTPS for Mosque |  | Set | [5 empty] | B | A
c
E |  | HWCPS |  | Set | [5 empty] | B | A
F |  | BCWSP-1 |  | Set | [5 empty] | B | A
G |  | BCWSP-2 |  | Set | [5 empty] | B | A
H |  | BCWSP-3 |  | Set
J |  | BCWSP-4 |  | Set
K |  | BCWSP-5 |  | Set
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | WATER SUPPLY INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Connections and Provisions | [7 empty] | c
c
A |  | Allow for coordination and obtaining water supply connection from infrastructure water supply network, all in accordance with the drawings and specifications |  | Item | [5 empty] | A | A
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION | [7 empty] | c
c
|  | WATER SUPPLY INSTALLATION | [7 empty] | c
c
|  | COLLECTION | [7 empty] | c
c
|  | Bill 05 / Page 07 | [7 empty] | c
c
|  | Bill 05 / Page 08 | [7 empty] | c
c
|  | Bill 05 / Page 09 | [7 empty] | c
c
|  | Bill 05 / Page 10 | [7 empty] | c
c
|  | Bill 05 / Page 11 | [7 empty] | c
c
|  | Bill 05 / Page 12 | [7 empty] | c
c
|  | Bill 05 / Page 13 | [7 empty] | c
c
|  | Bill 05 / Page 14 | [7 empty] | c
c
|  | Bill 05 / Page 15 | [7 empty] | c
c
|  | Bill 05 / Page 16 | [7 empty] | c
c
|  | Bill 05 / Page 17 | [7 empty] | c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
|  | TO PART SUMMARY |  |  | AED |  |  |  |  | c
c
SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd)
FIRE FIGHTING INSTALLATION
Fire Extinguishers
Fire extinguishers including cabinets, necessary fixings, all in accordance with drawings and specifications
A |  | 6 kg Dry powder fire extinguisher |  | No
B |  | lop |  | No
C |  | 1200x1200mm fire blanket |  | No
D |  | 25 kg Trolley dry type fire extinguisher |  | No
|  | TO PART SUMMARY |  |  | AED
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | SUNDRIES | [7 empty] | c
c
A |  | Allow for builders work associated with Mechanical Engineering installation including machine and equipment plinths, bases, floating floors, bases, sleeves, supports, duct openings, access panels, doors for MEP shafts, walkways, service access ladders and maintenance access bridges, all in accordance with drawings and specification (Builders work for PS items to be priced under PS bill) |  | Item | [5 empty] | A | A
c
B |  | Allow for submittals, samples, shop drawings, inspections etc. |  | Item | [5 empty] | A | A
c
C |  | Allow for all identification including painting, marking and labelling |  | Item | [5 empty] | A | A
c
D |  | Allow for all inspection, testing and commissioning including all off-site and factory testing |  | Item | [5 empty] | A | A
c
E |  | Allow for providing operating instructions, maintenance manuals, record documents, warranties, guarantees and drawings |  | Item | [5 empty] | A | A
c
F |  | Allow for maintenanceG |  | Item | [5 empty] | A | A
c
G |  | Fire stopping for Mechanical Engineering Installations |  | Item | [5 empty] | A | A
c
c
c
c
c
c
c
c
c
c
c
c
c
c
|  | TO PART SUMMARY |  |  | AED |  |  |  |  | c
c
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | ADDITIONAL ITEMS | [7 empty] | c
c
|  | The contractor will list here and price any items shown on the drawings, mentioned in the specifications or required for the satisfactory completion of this section, but not mentioned in the BOQ. Any such items not listed below shall be deemed to be included |  | Note | [5 empty] | c | B
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
|  | TO PART SUMMARY |  |  | AED |  |  |  |  | c
c
c
|  | SECTION Q - MECHANICAL ENGINEERING INSTALLATION | [7 empty] | c
c
|  | SUMMARY | [7 empty] | c
c
|  | STORM WATER SYSTEM INSTALLATION | Bill 05 / Page 03 | [6 empty] | B | c
c
|  | DRAINAGE INSTALLATION | Bill 05 / Page 07 | [6 empty] | B | c
c
|  | CONDENSATE DRAIN SYSTEM INSTALLATION | Bill 05 / Page 08 | [6 empty] | B | c
c
|  | WATER SUPPLY INSTALLATION | Bill 05 / Page 17 | [6 empty] | B | c
c
|  | FIRE FIGHTING INSTALLATION | Bill 05 / Page 23 | [6 empty] | B | c
c
|  | AIR CONDITIONING AND VENTILATION SYSTEM INSTALLATION | Bill 05 / Page 32 |  |  | Under PS |  |  |  | B | c
c
|  | BUILDING MANAGEMENT SYSTEM INSTALLATION |  |  |  | Not Applicable |  |  |  | c | c
c
|  | SUNDRIES | Bill 05 / Page 33 | [6 empty] | B | c
c
|  | ADDITIONAL ITEMS | Bill 05 / Page 24 | [6 empty] | B | c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
|  | TO SUMMARY |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION | [7 empty] | c
c
|  | MAIN AND SUB MAIN INSTALLATION | [7 empty] | c
c
|  | Generator | [7 empty] | c
c
|  | Supply and install Generator including fuel tank, exhaust system and all necessary connections, terminations, protections and co-ordination to complete the installation, all in accordance with drawings and specifications | [7 empty] | c
c
A |  | 110kVA generator |  | No | [5 empty] | B | A
c
B |  | 225A ATS panel |  | No | [5 empty] | B | A
c
|  | Cabling | [7 empty] | c
c
|  | Supply and install power cables between MDB, SMDB, DBs and Isolators including terminations and all accessories, all in accordance with drawings and specifications | [7 empty] | c
c
|  | Cable from LV panel - 1 to, | [7 empty] | c | A
c
C |  | ATS panel |  | m | [5 empty] | B | A
c
D |  | ATS panel to generator |  | m | [5 empty] | B | A
c
E |  | ATS panel to EMDB-GEN |  | m | [5 empty] | B | A
c
F |  | SMDB-GF-LL1 |  | m | [5 empty] | B | A
c
G |  | SMDB-GF-LL2 |  | m | [5 empty] | B | A
c
H |  | DB-GF-EX |  | m | [5 empty] | B | A
c
J |  | DB-LV |  | m | [5 empty] | B | A
c
K |  | DB-SS |  | m | [5 empty] | B | A
c
L |  | CAPACITOR BANK |  | m | [5 empty] | B | A
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | MAIN AND SUB MAIN INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Cabling (Cont'd) | [7 empty] | c
c
|  | Supply and install power cables (Cont'd) | [7 empty] | c
c
|  | Cable from SMDB-GF-LL1 to, | [7 empty] | c | A
c
A |  | RF-FAHU-01 ISO |  | m | [5 empty] | B | A
c
B |  | OU-FAHU-RF-01b ISO |  | m | [5 empty] | B | A
c
C |  | OU-FAHU-RF-01a ISO |  | m | [5 empty] | B | A
c
D |  | SOLAR HEATER BACKUP ISO |  | m | [5 empty] | B | A
c
E |  | SOLAR HEATER BACKUP ISO |  | m | [5 empty] | B | A
c
F |  | PDB-GF-LL1 |  | m
G |  | LDB-GF-LL1 |  | m
|  | Cable from SMDB-GF-LL2 to, | [7 empty] | c | A
c
H |  | RF-RPU-01 ISO |  | m | [5 empty] | B | A
c
J |  | RF-RPU-02 ISO |  | m | [5 empty] | B | A
K |  | RF-RPU-03 ISO |  | m | [5 empty] | B | A
c
L |  | RF-RPU-04 ISO |  | m
M |  | RF-RPU-05 ISO |  | m
N |  | RF-RPU-06 ISO |  | m
P |  | RF-RPU-07 ISO |  | m
Q |  | RF-RPU-08 ISO |  | m
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | MAIN AND SUB MAIN INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Cabling (Cont'd) | [7 empty] | c
c
|  | Supply and install power cables (Cont'd) | [7 empty] | c
c
|  | Cable from SMDB-GF-LL2 to, | [7 empty] | c | A
c
A |  | RF-RPU-09 ISO |  | m
B |  | RF-RPU-10 ISO |  | m
C |  | RF-RPU-11 ISO |  | m
D |  | RF-RPU-12 ISO |  | m
E |  | RF-RPU-13 ISO |  | m
F |  | RF-RPU-14 ISO |  | m
G |  | DB-GF-MECH |  | m
|  | Cable from EMDB-GEN to, | [7 empty] | c | A
c
H |  | EDB-GF-LL1 |  | m | [5 empty] | B | A
c
J |  | EDB-TEL |  | m | [5 empty] | B | A
K |  | EDB-FF-RE1 |  | m | [5 empty] | B | A
c
L |  | EDB-FF-RE2 |  | m
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | MAIN AND SUB MAIN INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Panels and Distribution Boards | [7 empty] | c
c
|  | Supply and install LV panel and MDB, SMDB, DBs and MCCs, all in accordance with drawings and specifications | [7 empty] | c
c
A |  | LV Panel - 1 |  | No | [5 empty] | B | A
c
B |  | EMDB-GEN |  | No | [5 empty] | B | A
c
C |  | SMDB-GF-LL1 |  | No | [5 empty] | B | A
c
D |  | SMDB-GF-LL2 |  | No | [5 empty] | B | A
c
E |  | DB-GF-EX |  | No | [5 empty] | B | A
c
F |  | DB-LV |  | No | [5 empty] | B | A
c
G |  | DB-SS |  | No | [5 empty] | B | A
c
H |  | PDB-GF-LL1 |  | No
J |  | LDB-GF-LL1 |  | No
K |  | DB-GF-MECH |  | No
L |  | EDB-GF-LL1 |  | No | [5 empty] | B | A
c
M |  | EDB-TEL |  | No | [5 empty] | B | A
N |  | EDB-FF-RE1 |  | No | [5 empty] | B | A
c
P |  | EDB-FF-RE2 |  | No
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | MAIN AND SUB MAIN INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Panels and Distribution Boards (Cont'd) | [7 empty] | c
c
|  | Supply and Install Capacitor Bank with harmonic filters, capacitors and accessories, all in accordance with drawings and specifications | [7 empty] | c
c
A |  | 150kVAR Capacitor Bank |  | No | [5 empty] | B | A
c
|  | Installation only of Kilo Watt Hour Meter, including all accessories, terminations, all in accordance with drawings and specifications | [7 empty] | c
c
B |  | KWH Meters including meter cabinet |  | No | [5 empty] | B | A
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | MAIN AND SUB MAIN INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Disconnecting Switchs | [7 empty] | c
c
|  | Supply and install the following isolators / sockets including all accessories and terminations, all in accordance with drawings and specifications (feeders measured separately) | [7 empty] | c
c
A |  | 25A TPN |  | No | [5 empty] | B | A
B |  | 32A TPN |  | No | [5 empty] | B
c
C |  | 40A TPN |  | No | [5 empty] | B
c
D |  | 80A TPN |  | No
|  | Manholes | [8 empty] | b | c
[11 empty] | b | c
|  | LV manholes including covers, necessary excavation, filling, concreting, water proofing, finishes and connections, all in accordance with drawings and specifications | [8 empty] | b | c
[11 empty] | b | c
E |  | 300x300mm manhole |  | No | [7 empty] | B | A
[11 empty] | b | c
F |  | 600x600mm manhole |  | No | [7 empty] | B | A
[11 empty] | b | c
|  | Cable Ducts | [9 empty] | c
c
|  | Supply and lay uPVC duct in single or multiple duct including excavation, filling, sand bed and surround, warning tape with draw cord and end caps, all in accordance with drawings and specifications | [9 empty] | c
c
G |  | 2x75mm diameter, duct |  | m | [7 empty] | B | A
c
H |  | 2x150mm diameter, duct |  | m | [7 empty] | B | A
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | MAIN AND SUB MAIN INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Cable Tray, ladders and Trunking | [7 empty] | c
c
|  | Supply and install the following GI cable trays / ladders trunking and conduits for main circuits including all supports, accessories, fittings, all in accordance with drawings and specifications | [7 empty] | c
c
A |  | 100mm HDGI tray |  | m | [5 empty] | B | A
c
B |  | 150mm HDGI tray |  | m | [5 empty] | B | A
c
C |  | 200mm HDGI tray |  | m | [5 empty] | B | A
c
D |  | 300mm HDGI tray |  | m | [5 empty] | B | A
c
E |  | 450mm HDGI tray |  | m | [5 empty] | B | A
c
F |  | 600mm HDGI tray |  | m | [5 empty] | B | A
c
G |  | 750mm HDGI tray |  | m | [5 empty] | B | A
c
|  | Connections | [7 empty] | c
c
H |  | Allow for connection and coordination works which is required for installation of transformers and mian cables including cable trays, ladders, supports and accessories to obtain power supply to complete the power installation, all in accordance with drawings and specifications |  | Item
c
c
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION | [7 empty] | c
c
|  | MAIN AND SUB MAIN INSTALLATION | [7 empty] | c
c
|  | COLLECTION | [7 empty] | c
c
|  | Bill 05 / Page 23 | [7 empty] | c
c
|  | Bill 05 / Page 24 | [7 empty] | c
c
|  | Bill 05 / Page 25 | [7 empty] | c
c
|  | Bill 05 / Page 26 | [7 empty] | c
c
|  | Bill 05 / Page 27 | [7 empty] | c
c
|  | Bill 05 / Page 28 | [7 empty] | c
c
|  | Bill 05 / Page 29 | [7 empty] | c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
|  | TO PART SUMMARY |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | POWER INSTALLATION | [7 empty] | c
c
|  | Power Outlets | [7 empty] | c
c
|  | Power outlets with accessories and necessary wiring to final sub-circuits and auxiliary installations, including power supplies, terminations and fixings necessary to complete the installation, all in accordance with drawings and specifications | [7 empty] | c
c
A |  | 13A Single switched socket outlet |  | No | [5 empty] | B | A
c
B |  | 13A Double switched socket outlet |  | No | [5 empty] | B | A
c
C |  | 13A Single switched socket outlet (W/P) |  | No | [5 empty] | B | A
c
D |  | 13A Double switched socket outlet (W/P) |  | No | [5 empty] | B | A
c
E |  | Hand dryer outlet |  | No | [5 empty] | B | A
c
F |  | 13A Fused connection unit with neon indicator |  | No | [5 empty] | B | A
c
G |  | 13A Switched fused connection unit with flex outlet and neon indicator |  | No | [5 empty] | B | A
c
H |  | Un-switched fused spur outlet |  | No | [5 empty] | B | A
c
J |  | DP switch |  | No | [5 empty] | B | A
c
K |  | Connection outlet |  | No | [5 empty] | B
L |  | Allow for any other switches, socket outlets as other system components required to complete the installation. |  | Item
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | POWER INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Disconnecting Switchs | [7 empty] | c
c
|  | Accessories and cabling to final sub-circuits and auxiliary installations, including power supplies, terminations and fixings necessary to complete the installation, all in accordance with drawings and specifications (Feeding from final DB's, cables and isolators shown on schematic diagram measured separately) | [7 empty] | c
c
A |  | 20A SPN Isolator |  | No | [5 empty] | B | A
c
B |  | 25A SPN Isolator |  | No | [5 empty] | B | A
c
C |  | 32A SPN Isolator |  | No | [5 empty] | B | A
c
D |  | 32A TPN Isolator |  | No | [5 empty] | B
c
E |  | 40A TPN Isolator |  | No | [5 empty] | B
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION | [7 empty] | c
c
|  | POWER INSTALLATION | [7 empty] | c
c
|  | COLLECTION | [7 empty] | c
c
|  | Bill 05 / Page 31 | [7 empty] | c
c
|  | Bill 05 / Page 32 | [7 empty] | c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
|  | TO PART SUMMARY |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | LIGHTING INSTALLATION | [7 empty] | c
c
|  | Switches | [7 empty] | c
c
|  | Supply and install accessories and cabling/wiring to final sub-circuits and auxiliary installations, including power supplies, terminations and fixings necessary to complete the installation, all in accordance with drawings and specifications (Cont'd) | [7 empty] | c
c
A |  | Lighting point, internal |  | No | [5 empty] | B | B
c
B |  | Lighting point, external |  | No | [5 empty] | B | B
c
C |  | One way one gang switch |  | No |  |  | 0 |  |  | B | A
c
D |  | One way two gang switch |  | No |  |  | 0 |  |  | B | A
c
E |  | One way three gang switch |  | No |  |  | 0 |  |  | B | A
c
F |  | Two way one gang switch |  | No |  |  | 0 |  |  | B | A
c
G |  | PIR |  | No |  |  | 0 |  |  | B | A
c
H |  | Photo cell |  | No |  |  | 0 |  |  | B | A
c
J |  | LCP |  | No |  |  | 0 |  |  | B | A
c
K |  | Door bell |  | No
L |  | Bell button |  | No
M |  | Connection outlet |  | No
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | LIGHTING INSTALLATION | [7 empty] | c
c
|  | Luminaries | [7 empty] | c
c
|  | Installation only of luminaries, including control gear, fixing accessories, lamps and necessary connections to complete the installation, all in accordance with drawings and specifications | [7 empty] | c
c
A |  | Luminaire, Type FL1 |  | No
B |  | Luminaire, Type L1 |  | No | [5 empty] | B | A
c
C |  | Luminaire, Type L1a |  | No | [5 empty] | B | A
c
D |  | Luminaire, Type L2 |  | No | [5 empty] | B | A
c
E |  | Luminaire, Type L3 |  | No | [5 empty] | B | A
c
F |  | Luminaire, Type L4 |  | No
G |  | Luminaire, Type L6 |  | No
H |  | Luminaire, Type L7 |  | No
J |  | Luminaire, Type L8 |  | No
K |  | Luminaire, Type L9 |  | No
L |  | Luminaire, Type L10 |  | No
M |  | Luminaire, Type L10a |  | No
N |  | Luminaire, Type L11 |  | No
P |  | Luminaire, Type L12 |  | No
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | LIGHTING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Luminaries (Cont'd) | [7 empty] | c
c
|  | Installation only of luminaries, including control gear, fixing accessories, lamps and necessary connections to complete the installation, all in accordance with drawings and specificationss (Cont'd) | [7 empty] | c
c
A |  | Luminaire, Type L-CH |  | No
B |  | Luminaire, Type XL2 |  | No
C |  | Luminaire, Type L-Li |  | m
D |  | Luminaire, Type XL1 |  | No | [5 empty] | B
c
E |  | Luminaire, Type XL2 |  | No | [5 empty] | B
c
F |  | Luminaire, Type XL3 |  | No | [5 empty] | B
c
G |  | Luminaire, Type XL4 |  | No | [5 empty] | B
c
c
c
c
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION | [7 empty] | c
c
|  | LIGHTING INSTALLATION | [7 empty] | c
c
|  | Bill 05 / Page 34 | [7 empty] | c
c
|  | Bill 05 / Page 35 | [7 empty] | c
c
|  | Bill 05 / Page 36 | [7 empty] | c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
|  | TO PART SUMMARY |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | EMERGENCY LIGHTING INSTALLATION | [7 empty] | c
c
|  | Equipments, Accessories and Cabling | [7 empty] | c
c
|  | Supply and install equipments, accessories and cabling to final sub-circuits and auxiliary installations, including power supplies, terminations and fixings necessary to complete the installation, all in accordance with drawings and specifications | [7 empty] | c
c
A |  | Luminaire, Type E1 |  | No | [5 empty] | B | A
c
B |  | Luminaire, Type E2 |  | No | [5 empty] | B | A
c
C |  | Luminaire, Type E3 |  | No | [5 empty] | B | A
c
D |  | Exit sign, Type EX-1 |  | No | [5 empty] | B | A
c
E |  | Exit sign, Type EX-2 |  | No | [5 empty] | B | A
c
F |  | Exit sign, Type EX-3 |  | No | [5 empty] | B | A
c
G |  | Emergency light monitoring panel |  | No
H |  | Allow for any other system components required to complete the installation |  | Item
c
|  | TO PART SUMMARY |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | TELEPHONE AND DATA SYSTEM INSTALLATION | [7 empty] | c
c
|  | Accessories, Equipments and Cabling | [7 empty] | c
c
|  | Accessories, equipments and cabling to final sub-circuits and auxiliary installations, including power supplies, terminations and fixings necessary to complete the installation, all in accordance with drawings and specifications | [7 empty] | c
c
A |  | RJ45 Single socket outlet |  | No | [5 empty] | B | A
c
B |  | RJ45 Twin socket outlet |  | No | [5 empty] | B | A
c
C |  | TJB |  | No | [5 empty] | B | A
c
D |  | ONU |  | No | [5 empty] | B | A
c
E |  | MDF, 42U |  | No | [5 empty] | B | A
c
F |  | Passive components including racks, cabinets and all necessary equipments and accessories for complete installation. |  | Item
|  | Manholes | [8 empty] | b | c
[11 empty] | b | c
|  | Etisalat manholes including covers, necessary excavation, filling, concreting, water proofing, finishes and connections, all in accordance with drawings and specifications | [8 empty] | b | c
[11 empty] | b | c
G |  | 600x600x800mm Etisalat manhole |  | No | [7 empty] | B | A
[11 empty] | b | c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | TELEPHONE AND DATA SYSTEM INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Cable Ducts | [9 empty] | c
c
|  | Supply and lay uPVC duct in single or multiple duct including excavation, filling, sand bed and surround, warning tape with draw cord and end caps, all in accordance with drawings and specifications | [9 empty] | c
c
A |  | 2x100mm diameter, duct |  | m | [7 empty] | B | A
c
|  | Cable Trays, ladders and Conduits | [7 empty] | c
c
|  | Supply and install the following GI cable trays / ladders, trunking and conduits including all supports, accessories, fittings, all in accordance with drawings and specifications | [7 empty] | c
c
B |  | 100mm tray |  | m | [5 empty] | B | A
c
|  | Connections | [7 empty] | c
c
C |  | Allow for main incoming for voice and data including connection and coordination required to complete the installation, all in accordance with drawings and specifications |  | Item | [5 empty] | A | A
c
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION | [7 empty] | c
c
|  | TELEPHONE AND DATA SYSTEM INSTALLATION | [7 empty] | c
c
|  | COLLECTION | [7 empty] | c
c
|  | Bill 05 / Page 39 | [7 empty] | c
c
|  | Bill 05 / Page 40 | [7 empty] | c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
|  | TO PART SUMMARY |  |  | AED |  |  |  |  | c
c
SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd)
DISABLED ALARM SYSTEM INSTALLATION
Accessories, Equipments and Cabling
Allow for disabled alarm system installation for disabled toilets including necessary equipments, accessories, cabling and connections necessary to complete the installation, all in accordance with drawings and specifications
A |  | Call station with pull cord |  | No
B |  | Sounder with flasher for disabled toilet |  | No
C |  | Reset acknowledge station |  | No
D |  | Disable alarm panel |  | No
E |  | Allow for any other system components required to complete the installation |  | Item
|  | TO PART SUMMARY |  |  | AED
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | FIRE ALARM SYSTEM INSTALLATION | [7 empty] | c
c
|  | Accessories, Equipments and Cabling | [7 empty] | c
c
|  | Accessories, equipments, associated cable and conduit/trunking to final sub-circuits and auxiliary installations, including power supplies, terminations and fixings necessary to complete the installation, all in accordance with drawings and specifications | [7 empty] | c
c
A |  | Smoke detector |  | No | [5 empty] | B | A
c
B |  | Heat detector |  | No | [5 empty] | B | A
c
C |  | Smoke detector with beacon sounder |  | No | [5 empty] | B | A
c
D |  | Manual call point |  | No | [5 empty] | B | A
c
E |  | Manual call point, W/P |  | No | [5 empty] | B | A
c
F |  | Fire alarm sounder or horn with flasher |  | No | [5 empty] | B | A
c
G |  | Fire alarm sounder or horn with flasher, W/P |  | No | [5 empty] | B | A
c
[10 empty] | c | A
c
[10 empty] | c | A
c
c
c
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | FIRE ALARM SYSTEM INSTALLATION (Cont'd) | [7 empty] | c
c
|  | Accessories, Equipments and Cabling (Cont'd) | [7 empty] | c
c
|  | Accessories, equipments, cable and conduit/trunking to final sub-circuits and auxiliary installations, including power supplies, terminations and fixings necessary to complete the installation, all in accordance with drawings and specifications (Cont'd) | [7 empty] | c
c
A |  | FACP |  | No | [5 empty] | B | A
c
B |  | 24x7 Auto dialler unit, Installation only |  | No | [5 empty] | B | A
c
C |  | Interfacing unit, IFU |  | No | [5 empty] | B | A
c
D |  | Monitoring panel |  | No | [5 empty] | B | A
c
E |  | Control module |  | No | [5 empty] | B | A
c
F |  | Allow for connection to Civil Defence authority |  | Item | [5 empty] | A | A
c
G |  | Allow for interfacing units including necessary connections to other MEP systems |  | Item | [5 empty] | A | A
c
c
c
|  | TO COLLECTION |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION | [7 empty] | c
c
|  | FIRE ALARM SYSTEM INSTALLATION | [7 empty] | c
c
|  | COLLECTION | [7 empty] | c
c
|  | Bill 05 / Page 43 | [7 empty] | c
c
|  | Bill 05 / Page 44 | [7 empty] | c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
|  | TO PART SUMMARY |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | EARTHING SYSTEM | [7 empty] | c
c
|  | Earthing system including all fittings, fixings, joints, bonding, connections and accessories, all in accordance with drawings and specifications | [7 empty] | c
c
A |  | Earthing system for LV panel, SMDB and DB including earth pit complete as detailed including test clamps, copper tape, cabling with ducts, earthing rod and all accessories |  | No | [5 empty] | B | A
c
B |  | Earthing system for transformer/generator including earth pit complete as detailed including test clamps, copper tape, cabling with ducts, earthing rod and all accessories |  | No | [5 empty] | B | A
c
C |  | Earthing system for Telephone and Low current system installations including earth pit complete as detailed including test clamps, copper tape, cabling with ducts, earthing rod and all accessories |  | No | [5 empty] | B | A
c
c
c
c
c
c
c
c
|  | TO PART SUMMARY |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | SUNDRIES | [7 empty] | c
c
A |  | Allow for builders work associated with Electrical Engineering installation including machine and equipment plinths, bases, floating floors, bases, sleeves, supports, duct openings, access panels, doors for MEP shafts, walkways and maintenance access bridges, all in accordance with drawings and specification (Builders work for PS items to be priced under PS bill) |  | Item | [5 empty] | A | A
c
B |  | Allow for submittals, samples, shop drawings, inspections etc. |  | Item | [5 empty] | A | A
c
C |  | Allow for all identification including painting, marking and labelling |  | Item | [5 empty] | A | A
c
D |  | Allow for all inspection, testing and commissioning including all off-site and factory testing |  | Item | [5 empty] | A | A
c
E |  | Allow for providing operating instructions, maintenance manuals, record documents, warranties, guarantees and drawings |  | Item | [5 empty] | A | A
c
F |  | Allow for maintenance |  | Item | [5 empty] | A | A
c
G |  | Fire stopping for Electrical Engineering Installations |  | Item | [5 empty] | A | A
c
c
c
c
c
c
c
c
c
c
c
|  | TO PART SUMMARY |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION (Cont'd) | [7 empty] | c
c
|  | ADDITIONAL ITEMS | [7 empty] | c
c
|  | The contractor will list here and price any items shown on the drawings, mentioned in the specifications or required for the satisfactory completion of this section, but not mentioned in the BOQ. Any such items not listed below shall be deemed to be included |  | Note | [5 empty] | c | c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
|  | TO PART SUMMARY |  |  | AED |  |  |  |  | c
c
c
|  | SECTION R - ELECTRICAL ENGINEERING INSTALLATION | [7 empty] | c
c
|  | PART SUMMARY | [7 empty] | c
c
|  | MAIN AND SUB MAIN INSTALLATION | Bill 05 / Page 30 | [6 empty] | B | c
c
|  | POWER INSTALLATION | Bill 05 / Page 33 | [6 empty] | B | c
c
|  | LIGHTING INSTALLATION | Bill 05 / Page 37 | [6 empty] | B | c
c
|  | EMERGENCY LIGHTING INSTALLATION | Bill 05 / Page 38 | [6 empty] | B | c
c
|  | TELEPHONE AND DATA SYSTEM INSTALLATION | Bill 05 / Page 41 | [6 empty] | B | c
c
|  | CCTV SYSTEM INSTALLATION |  |  |  | Under PS |  |  |  | c | c
c
|  | AV SYSTEM INSTALLATION |  |  |  | Under PS |  |  |  | c | c
|  | SMATV SYSTEM INSTALLATION |  |  |  | Under PS |  |  |  | c
|  | DISABLED ALARM SYSTEM INSTALLATION | Bill 05 / Page 42 | [6 empty] | B | c
|  | FIRE ALARM SYSTEM INSTALLATION | Bill 05 / Page 45 | [6 empty] | B | c
c
|  | EARTHING SYSTEM | Bill 05 / Page 46 | [6 empty] | B | c
c
|  | SUNDRIES | Bill 05 / Page 47 | [6 empty] | B | c
c
|  | ADDITIONAL ITEMS | Bill 05 / Page 48 | [6 empty] | B | c
c
c
c
c
c
|  | TO SUMMARY |  |  | AED |  |  |  |  | c
c
c
|  | SUMMARY | [7 empty] | c
c
|  | MECHANICAL ENGINEERING INSTALLATION | Bill 05 / Page 22 | [6 empty] | B | c
c
|  | ELECTRICAL ENGINEERING INSTALLATION | Bill 05 / Page 49 | [6 empty] | B | c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
c
|  | TO MAIN SUMMARY |  |  | AED